## Instead of Type 47 and 49
#VALUE!
Dentsply Sirona SmartPeg Compatibility Update
Based on SmartPeg Reference Guide v95, September 15, 2026
Model | Implant REF | Platform | Ø | Length | Single-use REF | Single-use Type | Reusable REF | Reusable Type
ASTRA TECH IMPLANT EV | 26340 | Blue | 4.8 S | 6 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26341 | Blue | 4.8 S | 8 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26351 | Blue | 4.8 C | 8 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26342 | Blue | 4.8 S | 9 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26352 | Blue | 4.8 C | 9 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26343 | Blue | 4.8 S | 11 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26353 | Blue | 4.8 C | 11 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26344 | Blue | 4.8 S | 13 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26354 | Blue | 4.8 C | 13 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26345 | Blue | 4.8 S | 15 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26355 | Blue | 4.8 C | 15 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26346 | Blue | 4.8 S | 17 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26356 | Blue | 4.8 C | 17 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26360 | Brown | 5.4 S | 6 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26361 | Brown | 5.4 S | 8 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26362 | Brown | 5.4 S | 9 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26363 | Brown | 5.4 S | 11 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26364 | Brown | 5.4 S | 13 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26365 | Brown | 5.4 S | 15 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26320 | Yellow | 4.2 S | 6 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26321 | Yellow | 4.2 S | 8 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26331 | Yellow | 4.2 C | 8 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26322 | Yellow | 4.2 S | 9 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26332 | Yellow | 4.2 C | 9 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26323 | Yellow | 4.2 S | 11 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26333 | Yellow | 4.2 C | 11 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26324 | Yellow | 4.2 S | 13 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26334 | Yellow | 4.2 C | 13 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26325 | Yellow | 4.2 S | 15 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26335 | Yellow | 4.2 C | 15 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26326 | Yellow | 4.2 S | 17 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26336 | Yellow | 4.2 C | 17 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011154 | L/Blue | 4.5 | 8 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011155 | L/Blue | 4.5 | 9.5 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011156 | L/Blue | 4.5 | 11 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011157 | L/Blue | 4.5 | 13 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011158 | L/Blue | 4.5 | 15 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011159 | L/Blue | 4.5 | 18 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011148 | M/Yellow | 3.8 | 8 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011149 | M/Yellow | 3.8 | 9.5 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011150 | M/Yellow | 3.8 | 11 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011151 | M/Yellow | 3.8 | 13 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011152 | M/Yellow | 3.8 | 15 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011153 | M/Yellow | 3.8 | 18 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011160 | XL/Brown | 5.5 | 8 | 08086156 | Type 120
OmniTaper EV | 68011161 | XL/Brown | 5.5 | 9.5 | 08086156 | Type 120
OmniTaper EV | 68011162 | XL/Brown | 5.5 | 11 | 08086156 | Type 120
OmniTaper EV | 68011163 | XL/Brown | 5.5 | 13 | 08086156 | Type 120
OmniTaper EV | 68011164 | XL/Brown | 5.5 | 15 | 08086156 | Type 120
OsseoSpeed EV | 25241 | Blue | 4.8 S | 6 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25242 | Blue | 4.8 S | 8 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25272 | Blue | 4.8 C | 8 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25243 | Blue | 4.8 S | 9 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25273 | Blue | 4.8 C | 9 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25244 | Blue | 4.8 S | 11 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25274 | Blue | 4.8 C | 11 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25245 | Blue | 4.8 S | 13 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25275 | Blue | 4.8 C | 13 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25246 | Blue | 4.8 S | 15 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25276 | Blue | 4.8 C | 15 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25247 | Blue | 4.8 S | 17 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25277 | Blue | 4.8 C | 17 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25251 | Brown | 5.4 S | 6 | 08086156 | Type 120
OsseoSpeed EV | 25252 | Brown | 5.4 S | 8 | 08086156 | Type 120
OsseoSpeed EV | 25253 | Brown | 5.4 S | 9 | 08086156 | Type 120
OsseoSpeed EV | 25254 | Brown | 5.4 S | 11 | 08086156 | Type 120
OsseoSpeed EV | 25255 | Brown | 5.4 S | 13 | 08086156 | Type 120
OsseoSpeed EV | 25256 | Brown | 5.4 S | 15 | 08086156 | Type 120
OsseoSpeed EV | 25231 | Yellow | 4.2 S | 6 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25232 | Yellow | 4.2 S | 8 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25262 | Yellow | 4.2 C | 8 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25233 | Yellow | 4.2 S | 9 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25263 | Yellow | 4.2 C | 9 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25234 | Yellow | 4.2 S | 11 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25264 | Yellow | 4.2 C | 11 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25235 | Yellow | 4.2 S | 13 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25265 | Yellow | 4.2 C | 13 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25236 | Yellow | 4.2 S | 15 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25266 | Yellow | 4.2 C | 15 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25237 | Yellow | 4.2 S | 17 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25267 | Yellow | 4.2 C | 17 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011103 | L/Blue | 4.8 | 6.5 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011104 | L/Blue | 4.8 | 8 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011105 | L/Blue | 4.8 | 9 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011106 | L/Blue | 4.8 | 11 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011107 | L/Blue | 4.8 | 13 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011108 | L/Blue | 4.8 | 15 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011109 | L/Blue | 4.8 | 17 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011110 | L/Blue | 5.4 | 6.5 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011111 | L/Blue | 5.4 | 8 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011112 | L/Blue | 5.4 | 9 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011113 | L/Blue | 5.4 | 11 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011114 | L/Blue | 5.4 | 13 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011115 | L/Blue | 5.4 | 15 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011096 | M/Yellow | 4.2 | 6.5 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011097 | M/Yellow | 4.2 | 8 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011098 | M/Yellow | 4.2 | 9 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011099 | M/Yellow | 4.2 | 11 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011100 | M/Yellow | 4.2 | 13 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011101 | M/Yellow | 4.2 | 15 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011102 | M/Yellow | 4.2 | 17 | 08086157 | Type 121 | 08086521 | Type 121R
Following design improvements for certain conical implant connections, many Dentsply Sirona implant systems previously using SmartPeg Type 40, 47 or 49 may transition to SmartPeg Type 119, 120 or 121, available in both single-use and reusable versions (119R, 120R and 121R).
Please note: Dentsply Sirona Xive® S Plus Implant, Brown Platform, continues to use SmartPeg Type 22 and is not affected by this update.
Existing SmartPeg Type 40, 47 and 49 units remain fully functional and may continue to be used. SmartPeg Type 119/119R, 120/120R or 121/121R is recommended for future orders where indicated in this document.
Based on SmartPeg Reference Guide v95

## Dentsply Sirona implant guide
#VALUE!
Dentsply Sirona SmartPeg Reference Guide
Based on SmartPeg Reference Guide v95, September 15, 2026
Model | Implant REF | Platform | Ø | Length | Single-use REF | Single-use Type | Reusable REF | Reusable Type
ANKYLOS® C/X Implant | 31010403 | A/Red | 3.5 | 6.6 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010405 | A/Red | 3.5 | 8 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010408 | A/Red | 3.5 | 9.5 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010410 | A/Red | 3.5 | 11 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010420 | A/Red | 3.5 | 14 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010422 | A/Red | 3.5 | 17 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010423 | B/Yellow | 4.5 | 6.6 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010425 | B/Yellow | 4.5 | 8 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010428 | B/Yellow | 4.5 | 9.5 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010430 | B/Yellow | 4.5 | 11 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010440 | B/Yellow | 4.5 | 14 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010450 | B/Yellow | 4.5 | 17 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010452 | C/Blue | 5.5 | 6.6 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010453 | C/Blue | 5.5 | 8 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010455 | C/Blue | 5.5 | 9.5 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010458 | C/Blue | 5.5 | 11 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010460 | C/Blue | 5.5 | 14 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010470 | C/Blue | 5.5 | 17 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010472 | D/Green | 7 | 8 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010474 | D/Green | 7 | 9.5 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010476 | D/Green | 7 | 11 | 100388 | Type 16
ANKYLOS® C/X Implant | 31010478 | D/Green | 7 | 14 | 100388 | Type 16
ASTRA TECH IMPLANT EV | 26340 | Blue | 4.8 S | 6 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26341 | Blue | 4.8 S | 8 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26351 | Blue | 4.8 C | 8 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26342 | Blue | 4.8 S | 9 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26352 | Blue | 4.8 C | 9 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26343 | Blue | 4.8 S | 11 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26353 | Blue | 4.8 C | 11 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26344 | Blue | 4.8 S | 13 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26354 | Blue | 4.8 C | 13 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26345 | Blue | 4.8 S | 15 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26355 | Blue | 4.8 C | 15 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26346 | Blue | 4.8 S | 17 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26356 | Blue | 4.8 C | 17 | 08086155 | Type 119 | 08086519 | Type 119R
ASTRA TECH IMPLANT EV | 26360 | Brown | 5.4 S | 6 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26361 | Brown | 5.4 S | 8 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26362 | Brown | 5.4 S | 9 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26363 | Brown | 5.4 S | 11 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26364 | Brown | 5.4 S | 13 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26365 | Brown | 5.4 S | 15 | 08086156 | Type 120
ASTRA TECH IMPLANT EV | 26301 | Green | 3.0 S | 8 | 100481 | Type 50
ASTRA TECH IMPLANT EV | 26302 | Green | 3.0 S | 9 | 100481 | Type 50
ASTRA TECH IMPLANT EV | 26303 | Green | 3.0 S | 11 | 100481 | Type 50
ASTRA TECH IMPLANT EV | 26304 | Green | 3.0 S | 13 | 100481 | Type 50
ASTRA TECH IMPLANT EV | 26305 | Green | 3.0 S | 15 | 100481 | Type 50
ASTRA TECH IMPLANT EV | 26310 | Purple | 3.6 S | 6 | 100455 | Type 38 | 08086438 | Type 038R
ASTRA TECH IMPLANT EV | 26311 | Purple | 3.6 S | 8 | 100455 | Type 38 | 08086438 | Type 038R
ASTRA TECH IMPLANT EV | 26312 | Purple | 3.6 S | 9 | 100455 | Type 38 | 08086438 | Type 038R
ASTRA TECH IMPLANT EV | 26313 | Purple | 3.6 S | 11 | 100455 | Type 38 | 08086438 | Type 038R
ASTRA TECH IMPLANT EV | 26314 | Purple | 3.6 S | 13 | 100455 | Type 38 | 08086438 | Type 038R
ASTRA TECH IMPLANT EV | 26315 | Purple | 3.6 S | 15 | 100455 | Type 38 | 08086438 | Type 038R
ASTRA TECH IMPLANT EV | 26316 | Purple | 3.6 S | 17 | 100455 | Type 38 | 08086438 | Type 038R
ASTRA TECH IMPLANT EV | 26320 | Yellow | 4.2 S | 6 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26321 | Yellow | 4.2 S | 8 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26331 | Yellow | 4.2 C | 8 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26322 | Yellow | 4.2 S | 9 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26332 | Yellow | 4.2 C | 9 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26323 | Yellow | 4.2 S | 11 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26333 | Yellow | 4.2 C | 11 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26324 | Yellow | 4.2 S | 13 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26334 | Yellow | 4.2 C | 13 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26325 | Yellow | 4.2 S | 15 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26335 | Yellow | 4.2 C | 15 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26326 | Yellow | 4.2 S | 17 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH IMPLANT EV | 26336 | Yellow | 4.2 C | 17 | 08086157 | Type 121 | 08086521 | Type 121R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25440 | P4.2/Yellow | 4.2 PS | 8 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25452 | P4.2/Yellow | 4.2 PC | 8 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25441 | P4.2/Yellow | 4.2 PS | 9 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25453 | P4.2/Yellow | 4.2 PC | 9 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25442 | P4.2/Yellow | 4.2 PS | 11 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25454 | P4.2/Yellow | 4.2 PC | 11 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25443 | P4.2/Yellow | 4.2 PS | 13 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25455 | P4.2/Yellow | 4.2 PC | 13 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25444 | P4.2/Yellow | 4.2 PS | 15 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25456 | P4.2/Yellow | 4.2 PC | 15 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25445 | P4.2/Yellow | 4.2 PS | 17 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25457 | P4.2/Yellow | 4.2 PC | 17 | 100370 | Type 10
ASTRA TECH Implant system OsseoSpeed Profile EV | 25446 | P4.8/Blue | 4.8 PS | 8 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25458 | P4.8/Blue | 4.8 PC | 8 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25447 | P4.8/Blue | 4.8 PS | 9 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25459 | P4.8/Blue | 4.8 PC | 9 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25448 | P4.8/Blue | 4.8 PS | 11 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25460 | P4.8/Blue | 4.8 PC | 11 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25449 | P4.8/Blue | 4.8 PS | 13 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25461 | P4.8/Blue | 4.8 PC | 13 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25450 | P4.8/Blue | 4.8 PS | 15 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25462 | P4.8/Blue | 4.8 PC | 15 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25451 | P4.8/Blue | 4.8 PS | 17 | 100440 | Type 32 | 08086432 | Type 032R
ASTRA TECH Implant system OsseoSpeed Profile EV | 25463 | P4.8/Blue | 4.8 PC | 17 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.2PC OS | 26381 | P4.2/Yellow | 4.2 | 8 | 100370 | Type 10
AstraTech Implant EV 4.2PC OS | 26382 | P4.2/Yellow | 4.2 | 9 | 100370 | Type 10
AstraTech Implant EV 4.2PC OS | 26383 | P4.2/Yellow | 4.2 | 11 | 100370 | Type 10
AstraTech Implant EV 4.2PC OS | 26384 | P4.2/Yellow | 4.2 | 13 | 100370 | Type 10
AstraTech Implant EV 4.2PC OS | 26385 | P4.2/Yellow | 4.2 | 15 | 100370 | Type 10
AstraTech Implant EV 4.2PC OS | 26386 | P4.2/Yellow | 4.2 | 17 | 100370 | Type 10
AstraTech Implant EV 4.2PS OS | 26371 | P4.2/Yellow | 4.2 | 8 | 100370 | Type 10
AstraTech Implant EV 4.2PS OS | 26372 | P4.2/Yellow | 4.2 | 9 | 100370 | Type 10
AstraTech Implant EV 4.2PS OS | 26373 | P4.2/Yellow | 4.2 | 11 | 100370 | Type 10
AstraTech Implant EV 4.2PS OS | 26374 | P4.2/Yellow | 4.2 | 13 | 100370 | Type 10
AstraTech Implant EV 4.2PS OS | 26375 | P4.2/Yellow | 4.2 | 15 | 100370 | Type 10
AstraTech Implant EV 4.2PS OS | 26376 | P4.2/Yellow | 4.2 | 17 | 100370 | Type 10
AstraTech Implant EV 4.8PC OS | 26411 | P4.8/Blue | 4.8 | 8 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PC OS | 26412 | P4.8/Blue | 4.8 | 9 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PC OS | 26413 | P4.8/Blue | 4.8 | 11 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PC OS | 26414 | P4.8/Blue | 4.8 | 13 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PC OS | 26415 | P4.8/Blue | 4.8 | 15 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PC OS | 26416 | P4.8/Blue | 4.8 | 17 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PS OS | 26401 | P4.8/Blue | 4.8 | 8 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PS OS | 26402 | P4.8/Blue | 4.8 | 9 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PS OS | 26403 | P4.8/Blue | 4.8 | 11 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PS OS | 26404 | P4.8/Blue | 4.8 | 13 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PS OS | 26405 | P4.8/Blue | 4.8 | 15 | 100440 | Type 32 | 08086432 | Type 032R
AstraTech Implant EV 4.8PS OS | 26406 | P4.8/Blue | 4.8 | 17 | 100440 | Type 32 | 08086432 | Type 032R
OmniTaper EV | 68011154 | L/Blue | 4.5 | 8 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011155 | L/Blue | 4.5 | 9.5 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011156 | L/Blue | 4.5 | 11 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011157 | L/Blue | 4.5 | 13 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011158 | L/Blue | 4.5 | 15 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011159 | L/Blue | 4.5 | 18 | 08086155 | Type 119 | 08086519 | Type 119R
OmniTaper EV | 68011148 | M/Yellow | 3.8 | 8 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011149 | M/Yellow | 3.8 | 9.5 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011150 | M/Yellow | 3.8 | 11 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011151 | M/Yellow | 3.8 | 13 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011152 | M/Yellow | 3.8 | 15 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011153 | M/Yellow | 3.8 | 18 | 08086157 | Type 121 | 08086521 | Type 121R
OmniTaper EV | 68011143 | S/Purple | 3.4 | 9.5 | 100455 | Type 38 | 08086438 | Type 038R
OmniTaper EV | 68011144 | S/Purple | 3.4 | 11 | 100455 | Type 38 | 08086438 | Type 038R
OmniTaper EV | 68011145 | S/Purple | 3.4 | 13 | 100455 | Type 38 | 08086438 | Type 038R
OmniTaper EV | 68011146 | S/Purple | 3.4 | 15 | 100455 | Type 38 | 08086438 | Type 038R
OmniTaper EV | 68011147 | S/Purple | 3.4 | 18 | 100455 | Type 38 | 08086438 | Type 038R
OmniTaper EV | 68011160 | XL/Brown | 5.5 | 8 | 08086156 | Type 120
OmniTaper EV | 68011161 | XL/Brown | 5.5 | 9.5 | 08086156 | Type 120
OmniTaper EV | 68011162 | XL/Brown | 5.5 | 11 | 08086156 | Type 120
OmniTaper EV | 68011163 | XL/Brown | 5.5 | 13 | 08086156 | Type 120
OmniTaper EV | 68011164 | XL/Brown | 5.5 | 15 | 08086156 | Type 120
OmniTaper EV | 68011140 | XS/Green | 3 | 11 | 100481 | Type 50
OmniTaper EV | 68011141 | XS/Green | 3 | 13 | 100481 | Type 50
OmniTaper EV | 68011142 | XS/Green | 3 | 15 | 100481 | Type 50
OsseoSpeed EV | 25241 | Blue | 4.8 S | 6 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25242 | Blue | 4.8 S | 8 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25272 | Blue | 4.8 C | 8 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25243 | Blue | 4.8 S | 9 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25273 | Blue | 4.8 C | 9 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25244 | Blue | 4.8 S | 11 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25274 | Blue | 4.8 C | 11 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25245 | Blue | 4.8 S | 13 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25275 | Blue | 4.8 C | 13 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25246 | Blue | 4.8 S | 15 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25276 | Blue | 4.8 C | 15 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25247 | Blue | 4.8 S | 17 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25277 | Blue | 4.8 C | 17 | 08086155 | Type 119 | 08086519 | Type 119R
OsseoSpeed EV | 25247 | Blue | 4.8 S | 17 | 100478 | Type 47
OsseoSpeed EV | 25277 | Blue | 4.8 C | 17 | 100478 | Type 47
OsseoSpeed EV | 25251 | Brown | 5.4 S | 6 | 08086156 | Type 120
OsseoSpeed EV | 25252 | Brown | 5.4 S | 8 | 08086156 | Type 120
OsseoSpeed EV | 25253 | Brown | 5.4 S | 9 | 08086156 | Type 120
OsseoSpeed EV | 25254 | Brown | 5.4 S | 11 | 08086156 | Type 120
OsseoSpeed EV | 25255 | Brown | 5.4 S | 13 | 08086156 | Type 120
OsseoSpeed EV | 25256 | Brown | 5.4 S | 15 | 08086156 | Type 120
OsseoSpeed EV | 25212 | Green | 3.0 S | 8 | 100481 | Type 50
OsseoSpeed EV | 25213 | Green | 3.0 S | 9 | 100481 | Type 50
OsseoSpeed EV | 25214 | Green | 3.0 S | 11 | 100481 | Type 50
OsseoSpeed EV | 25215 | Green | 3.0 S | 13 | 100481 | Type 50
OsseoSpeed EV | 25216 | Green | 3.0 S | 15 | 100481 | Type 50
OsseoSpeed EV | 25221 | Purple | 3.6 S | 6 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed EV | 25222 | Purple | 3.6 S | 8 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed EV | 25223 | Purple | 3.6 S | 9 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed EV | 25224 | Purple | 3.6 S | 11 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed EV | 25225 | Purple | 3.6 S | 13 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed EV | 25226 | Purple | 3.6 S | 15 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed EV | 25227 | Purple | 3.6 S | 17 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed EV | 25231 | Yellow | 4.2 S | 6 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25232 | Yellow | 4.2 S | 8 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25262 | Yellow | 4.2 C | 8 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25233 | Yellow | 4.2 S | 9 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25263 | Yellow | 4.2 C | 9 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25234 | Yellow | 4.2 S | 11 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25264 | Yellow | 4.2 C | 11 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25235 | Yellow | 4.2 S | 13 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25265 | Yellow | 4.2 C | 13 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25236 | Yellow | 4.2 S | 15 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25266 | Yellow | 4.2 C | 15 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25237 | Yellow | 4.2 S | 17 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed EV | 25267 | Yellow | 4.2 C | 17 | 08086157 | Type 121 | 08086521 | Type 121R
OsseoSpeed TX 3.0 S | 24982 | X-Small/Yellow | 3 | 11 | 100481 | Type 50
OsseoSpeed TX 3.0 S | 24983 | X-Small/Yellow | 3 | 13 | 100481 | Type 50
OsseoSpeed TX 3.0 S | 24984 | X-Small/Yellow | 3 | 15 | 100481 | Type 50
OsseoSpeed TX 3.5S | 24930 | Small/Aqua | 3.5 | 8 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 3.5S | 24931 | Small/Aqua | 3.5 | 9 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 3.5S | 24932 | Small/Aqua | 3.5 | 11 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 3.5S | 24933 | Small/Aqua | 3.5 | 13 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 3.5S | 24934 | Small/Aqua | 3.5 | 15 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 3.5S | 24935 | Small/Aqua | 3.5 | 17 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 4.0S | 24939 | Small/Aqua | 4 | 6 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 4.0S | 24940 | Small/Aqua | 4 | 8 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 4.0S | 24941 | Small/Aqua | 4 | 9 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 4.0S | 24942 | Small/Aqua | 4 | 11 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 4.0S | 24943 | Small/Aqua | 4 | 13 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 4.0S | 24944 | Small/Aqua | 4 | 15 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 4.0S | 24945 | Small/Aqua | 4 | 17 | 100455 | Type 38 | 08086438 | Type 038R
OsseoSpeed TX 4.5 | 24951 | Large/Lilac | 4.5 | 9 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 4.5 | 24952 | Large/Lilac | 4.5 | 11 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 4.5 | 24953 | Large/Lilac | 4.5 | 13 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 4.5 | 24954 | Large/Lilac | 4.5 | 15 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 4.5 | 24955 | Large/Lilac | 4.5 | 17 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0 | 24961 | Large/Lilac | 5 | 9 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0 | 24962 | Large/Lilac | 5 | 11 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0 | 24963 | Large/Lilac | 5 | 13 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0 | 24964 | Large/Lilac | 5 | 15 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0 | 24965 | Large/Lilac | 5 | 17 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0S | 24971 | Large/Lilac | 5 | 9 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0S | 24972 | Large/Lilac | 5 | 11 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0S | 24973 | Large/Lilac | 5 | 13 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0S | 24974 | Large/Lilac | 5 | 15 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX 5.0S | 24975 | Large/Lilac | 5 | 17 | 100380 | Type 07 | 08086407 | Type 007R
OsseoSpeed TX Profile 4.5 | 25029 | 4.5 | 4.5 | 9 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 4.5 | 25030 | 4.5 | 4.5 | 11 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 4.5 | 25031 | 4.5 | 4.5 | 13 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 4.5 | 25032 | 4.5 | 4.5 | 15 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 4.5 | 25033 | 4.5 | 4.5 | 17 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0 | 25034 | 5 | 5 | 9 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0 | 25035 | 5 | 5 | 11 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0 | 25036 | 5 | 5 | 13 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0 | 25037 | 5 | 5 | 15 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0 | 25038 | 5 | 5 | 17 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0S | 25039 | 5 | 5 | 9 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0S | 25040 | 5 | 5 | 11 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0S | 25041 | 5 | 5 | 13 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0S | 25042 | 5 | 5 | 15 | 100378 | Type 06 | 08086406 | Type 006R
OsseoSpeed TX Profile 5.0S | 25043 | 5 | 5 | 17 | 100378 | Type 06 | 08086406 | Type 006R
PrimeTaper EV | 68011103 | L/Blue | 4.8 | 6.5 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011104 | L/Blue | 4.8 | 8 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011105 | L/Blue | 4.8 | 9 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011106 | L/Blue | 4.8 | 11 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011107 | L/Blue | 4.8 | 13 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011108 | L/Blue | 4.8 | 15 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011109 | L/Blue | 4.8 | 17 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011110 | L/Blue | 5.4 | 6.5 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011111 | L/Blue | 5.4 | 8 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011112 | L/Blue | 5.4 | 9 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011113 | L/Blue | 5.4 | 11 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011114 | L/Blue | 5.4 | 13 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011115 | L/Blue | 5.4 | 15 | 08086155 | Type 119 | 08086519 | Type 119R
PrimeTaper EV | 68011096 | M/Yellow | 4.2 | 6.5 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011097 | M/Yellow | 4.2 | 8 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011098 | M/Yellow | 4.2 | 9 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011099 | M/Yellow | 4.2 | 11 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011100 | M/Yellow | 4.2 | 13 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011101 | M/Yellow | 4.2 | 15 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011102 | M/Yellow | 4.2 | 17 | 08086157 | Type 121 | 08086521 | Type 121R
PrimeTaper EV | 68011090 | S/Purple | 3.6 | 8 | 100455 | Type 38 | 08086438 | Type 038R
PrimeTaper EV | 68011091 | S/Purple | 3.6 | 9 | 100455 | Type 38 | 08086438 | Type 038R
PrimeTaper EV | 68011092 | S/Purple | 3.6 | 11 | 100455 | Type 38 | 08086438 | Type 038R
PrimeTaper EV | 68011093 | S/Purple | 3.6 | 13 | 100455 | Type 38 | 08086438 | Type 038R
PrimeTaper EV | 68011094 | S/Purple | 3.6 | 15 | 100455 | Type 38 | 08086438 | Type 038R
PrimeTaper EV | 68011095 | S/Purple | 3.6 | 17 | 100455 | Type 38 | 08086438 | Type 038R
PrimeTaper EV | 68011085 | XS/Green | 3 | 8 | 100481 | Type 50
PrimeTaper EV | 68011086 | XS/Green | 3 | 9 | 100481 | Type 50
PrimeTaper EV | 68011087 | XS/Green | 3 | 11 | 100481 | Type 50
PrimeTaper EV | 68011088 | XS/Green | 3 | 13 | 100481 | Type 50
PrimeTaper EV | 68011089 | XS/Green | 3 | 15 | 100481 | Type 50
Xive® S plus lmplant | 32262412 | 3.0/Brown | 3 | 11 | 100404 | Type 22
Xive® S plus lmplant | 32262413 | 3.0/Brown | 3 | 13 | 100404 | Type 22
Xive® S plus lmplant | 32262415 | 3.0/Brown | 3 | 15 | 100404 | Type 22
Xive® S plus lmplant | 32262431 | 3.4/Grey | 3.4 | 9.5 | 100402 | Type 21
Xive® S plus lmplant | 32262432 | 3.4/Grey | 3.4 | 11 | 100402 | Type 21
Xive® S plus lmplant | 32262433 | 3.4/Grey | 3.4 | 13 | 100402 | Type 21
Xive® S plus lmplant | 32262435 | 3.4/Grey | 3.4 | 15 | 100402 | Type 21
Xive® S plus lmplant | 32262438 | 3.4/Grey | 3.4 | 18 | 100402 | Type 21
Xive® S plus lmplant | 32262440 | 3.8/Yellow | 3.8 | 8 | 100472 | Type 45
Xive® S plus lmplant | 32262441 | 3.8/Yellow | 3.8 | 9.5 | 100472 | Type 45
Xive® S plus lmplant | 32262442 | 3.8/Yellow | 3.8 | 11 | 100472 | Type 45
Xive® S plus lmplant | 32262443 | 3.8/Yellow | 3.8 | 13 | 100472 | Type 45
Xive® S plus lmplant | 32262445 | 3.8/Yellow | 3.8 | 15 | 100472 | Type 45
Xive® S plus lmplant | 32262448 | 3.8/Yellow | 3.8 | 18 | 100472 | Type 45
Xive® S plus lmplant | 32262450 | 4.5/Blue | 4.5 | 8 | 100472 | Type 45
Xive® S plus lmplant | 32262451 | 4.5/Blue | 4.5 | 9.5 | 100472 | Type 45
Xive® S plus lmplant | 32262452 | 4.5/Blue | 4.5 | 11 | 100472 | Type 45
Xive® S plus lmplant | 32262453 | 4.5/Blue | 4.5 | 13 | 100472 | Type 45
Xive® S plus lmplant | 32262455 | 4.5/Blue | 4.5 | 15 | 100472 | Type 45
Xive® S plus lmplant | 32262458 | 4.5/Blue | 4.5 | 18 | 100472 | Type 45
Xive® S plus lmplant | 32262460 | 5.5/Red | 5.5 | 8 | 100472 | Type 45
Xive® S plus lmplant | 32262461 | 5.5/Red | 5.5 | 9.5 | 100472 | Type 45
Xive® S plus lmplant | 32262462 | 5.5/Red | 5.5 | 11 | 100472 | Type 45
Xive® S plus lmplant | 32262463 | 5.5/Red | 5.5 | 13 | 100472 | Type 45
Xive® S plus lmplant | 32262465 | 5.5/Red | 5.5 | 15 | 100472 | Type 45
XiVE® TG plus Implant | 32252431 | 3.4/Grey | 3.4 | 9.5 | 100366 | Type 08
XiVE® TG plus Implant | 32252432 | 3.4/Grey | 3.4 | 11 | 100366 | Type 08
XiVE® TG plus Implant | 32252433 | 3.4/Grey | 3.4 | 13 | 100366 | Type 08
XiVE® TG plus Implant | 32252435 | 3.4/Grey | 3.4 | 15 | 100366 | Type 08
XiVE® TG plus Implant | 32252440 | 3.8/Yellow | 3.8 | 8 | 100366 | Type 08
XiVE® TG plus Implant | 32252441 | 3.8/Yellow | 3.8 | 9.5 | 100366 | Type 08
XiVE® TG plus Implant | 32252442 | 3.8/Yellow | 3.8 | 11 | 100366 | Type 08
XiVE® TG plus Implant | 32252443 | 3.8/Yellow | 3.8 | 13 | 100366 | Type 08
XiVE® TG plus Implant | 32252445 | 3.8/Yellow | 3.8 | 15 | 100366 | Type 08
XiVE® TG plus Implant | 32252450 | 4.5/Blue | 4.5 | 8 | 100366 | Type 08
XiVE® TG plus Implant | 32252451 | 4.5/Blue | 4.5 | 9.5 | 100366 | Type 08
XiVE® TG plus Implant | 32252452 | 4.5/Blue | 4.5 | 11 | 100366 | Type 08
XiVE® TG plus Implant | 32252453 | 4.5/Blue | 4.5 | 13 | 100366 | Type 08
XiVE® TG plus Implant | 32252455 | 4.5/Blue | 4.5 | 15 | 100366 | Type 08

## Dentsply Sirona abutment guide
#VALUE!
Dentsply Sirona SmartPeg Reference Guide
Based on SmartPeg Reference Guide v95, September 15, 2026
Model | Abutment REF | Platform | Angle | Ø | Length | Single-use REF | Single-use Type | Reusable REF | Reusable Type
20° Uni Abutment TX 4.5/5.0 | 24398 | 4.5/5.0 LILAC | 0° | 3.5 | 0.5 | 100415 | Type 25 | 08086425 | Type 025R
20° Uni Abutment TX 4.5/5.0 | 24399 | 4.5/5.0 LILAC | 0° | 3.5 | 1 | 100415 | Type 25 | 08086425 | Type 025R
20° Uni Abutment TX 4.5/5.0 | 24400 | 4.5/5.0 LILAC | 0° | 3.5 | 2 | 100415 | Type 25 | 08086425 | Type 025R
20° Uni Abutment TX 4.5/5.0 | 24401 | 4.5/5.0 LILAC | 0° | 3.5 | 4 | 100415 | Type 25 | 08086425 | Type 025R
20° Uni Abutment TX 4.5/5.0 | 24402 | 4.5/5.0 LILAC | 0° | 3.5 | 6 | 100415 | Type 25 | 08086425 | Type 025R
20° Uni Abutment TX 4.5/5.0 | 24403 | 4.5/5.0 LILAC | 0° | 3.5 | 8 | 100415 | Type 25 | 08086425 | Type 025R
20° UniAbutment TX 3.5/4.0 | 24893 | 3.5/4.0 AQUA | 0° | 3.5 | 0.5 | 100415 | Type 25 | 08086425 | Type 025R
20° UniAbutment TX 3.5/4.0 | 24894 | 3.5/4.0 AQUA | 0° | 3.5 | 1 | 100415 | Type 25 | 08086425 | Type 025R
20° UniAbutment TX 3.5/4.0 | 24895 | 3.5/4.0 AQUA | 0° | 3.5 | 2 | 100415 | Type 25 | 08086425 | Type 025R
20° UniAbutment TX 3.5/4.0 | 24896 | 3.5/4.0 AQUA | 0° | 3.5 | 4 | 100415 | Type 25 | 08086425 | Type 025R
20° UniAbutment TX 3.5/4.0 | 24897 | 3.5/4.0 AQUA | 0° | 3.5 | 6 | 100415 | Type 25 | 08086425 | Type 025R
20° UniAbutment TX 3.5/4.0 | 24898 | 3.5/4.0 AQUA | 0° | 3.5 | 8 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 3.5/4.0 | 24899 | 3.5/4.0 AQUA | 0° | 3.5 | 0.5 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 3.5/4.0 | 24900 | 3.5/4.0 AQUA | 0° | 3.5 | 1 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 3.5/4.0 | 24901 | 3.5/4.0 AQUA | 0° | 3.5 | 2 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 3.5/4.0 | 24902 | 3.5/4.0 AQUA | 0° | 3.5 | 4 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 3.5/4.0 | 24903 | 3.5/4.0 AQUA | 0° | 3.5 | 6 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 3.5/4.0 | 24904 | 3.5/4.0 AQUA | 0° | 3.5 | 8 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 4.5/5.0 | 24406 | 4.5/5.0 LILAC | 0° | 3.5 | 0.5 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 4.5/5.0 | 24407 | 4.5/5.0 LILAC | 0° | 3.5 | 1 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 4.5/5.0 | 24408 | 4.5/5.0 LILAC | 0° | 3.5 | 2 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 4.5/5.0 | 24409 | 4.5/5.0 LILAC | 0° | 3.5 | 4 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 4.5/5.0 | 24410 | 4.5/5.0 LILAC | 0° | 3.5 | 6 | 100415 | Type 25 | 08086425 | Type 025R
45° UniAbutment TX 4.5/5.0 | 24411 | 4.5/5.0 LILAC | 0° | 3.5 | 8 | 100415 | Type 25 | 08086425 | Type 025R
Angled Abutment EV | 25619 | 3.6 / (S) | 20° | 3.6 | 1 | 08086144 | Type 112
Angled Abutment EV | 25620 | 3.6 / (S) | 20° | 3.6 | 2 | 08086144 | Type 112
Angled Abutment EV | 25621 | 3.6 / (S) NI | 20° | 3.6 | 1 | 08086144 | Type 112
Angled Abutment EV | 25622 | 3.6 / (S) NI | 20° | 3.6 | 2 | 08086144 | Type 112
Angled Abutment EV | 25625 | 4.2 / (M) | 20° | 4.2 | 1 | 08086144 | Type 112
Angled Abutment EV | 25626 | 4.2 / (M) | 20° | 4.2 | 2 | 08086144 | Type 112
Angled Abutment EV | 25627 | 4.2 / (M) NI | 20° | 4.2 | 1 | 08086144 | Type 112
Angled Abutment EV | 25628 | 4.2 / (M) NI | 20° | 4.2 | 2 | 08086144 | Type 112
Angled Abutment EV | 25631 | 4.8 / (L) | 20° | 4.8 | 1 | 08086144 | Type 112
Angled Abutment EV | 25632 | 4.8 / (L) | 20° | 4.8 | 2 | 08086144 | Type 112
Angled Abutment EV | 25633 | 4.8 / (L) NI | 20° | 4.8 | 1 | 08086144 | Type 112
Angled Abutment EV | 25634 | 4.8 / (L) NI | 20° | 4.8 | 2 | 08086144 | Type 112
Angled Abutment TX 3.5/4.0 | 24245 | 3.5/4.0 AQUA | 20° | 4 | 0.8 | 100415 | Type 25 | 08086425 | Type 025R
Angled Abutment TX 3.5/4.0 | 24246 | 3.5/4.0 AQUA | 20° | 4 | 2 | 100415 | Type 25 | 08086425 | Type 025R
Angled Abutment TX 3.5/4.0 NI | 24347 | 3.5/4.0 AQUA | 20° | 4 | 0.8 | 100415 | Type 25 | 08086425 | Type 025R
Angled Abutment TX 3.5/4.0 NI | 24348 | 3.5/4.0 AQUA | 20° | 4 | 2 | 100415 | Type 25 | 08086425 | Type 025R
Angled Abutment TX 4.5/5.0 | 24247 | 4.5/5.0 LILAC | 20° | 4 | 0.5 | 100415 | Type 25 | 08086425 | Type 025R
Angled Abutment TX 4.5/5.0 | 24248 | 4.5/5.0 LILAC | 20° | 4 | 2 | 100415 | Type 25 | 08086425 | Type 025R
Angled Abutment TX 4.5/5.0 NI | 24606 | 4.5/5.0 LILAC | 20° | 4 | 0.5 | 100415 | Type 25 | 08086425 | Type 025R
Angled Abutment TX 4.5/5.0 NI | 24607 | 4.5/5.0 LILAC | 20° | 4 | 2 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26162 | 3.6 | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26164 | 3.6 | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26163 | 3.6 | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26165 | 3.6 | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26159 | 3.6 NI | 0° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26166 | 3.6 NI | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26168 | 3.6 NI | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26160 | 3.6 NI | 0° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26167 | 3.6 NI | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26169 | 3.6 NI | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26161 | 3.6 NI | 0° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26173 | 4.2 | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26175 | 4.2 | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26174 | 4.2 | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26176 | 4.2 | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26170 | 4.2 NI | 0° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26177 | 4.2 NI | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26179 | 4.2 NI | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26171 | 4.2 NI | 0° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26178 | 4.2 NI | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26180 | 4.2 NI | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26172 | 4.2 NI | 0° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26184 | 4.8 | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26186 | 4.8 | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26185 | 4.8 | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26187 | 4.8 | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26181 | 4.8 NI | 0° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26188 | 4.8 NI | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26190 | 4.8 NI | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26182 | 4.8 NI | 0° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26189 | 4.8 NI | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26191 | 4.8 NI | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment ATIS EV | 26183 | 4.8 NI | 0° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012214 | (L) | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012221 | (L) | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012215 | (L) | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012222 | (L) | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012216 | (L) | 17° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012217 | (L) | 17° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012210 | (L) NI | 0° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012218 | (L) NI | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012223 | (L) NI | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012211 | (L) NI | 0° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012219 | (L) NI | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012224 | (L) NI | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012212 | (L) NI | 0° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012220 | (L) NI | 17° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012213 | (L) NI | 0° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012352 | (L) NI | 17° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012198 | (M) | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012206 | (M) | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012199 | (M) | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012207 | (M) | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012200 | (M) | 17° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012201 | (M) | 17° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012194 | (M) NI | 0° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012202 | (M) NI | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012208 | (M) NI | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012195 | (M) NI | 0° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012203 | (M) NI | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012209 | (M) NI | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012196 | (M) NI | 0° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012204 | (M) NI | 17° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012197 | (M) NI | 0° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012205 | (M) NI | 17° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012178 | (S) | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012186 | (S) | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012179 | (S) | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012187 | (S) | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012180 | (S) | 17° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012181 | (S) | 17° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012174 | (S) NI | 0° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012182 | (S) NI | 17° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012190 | (S) NI | 30° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012175 | (S) NI | 0° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012183 | (S) NI | 17° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012191 | (S) NI | 30° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012176 | (S) NI | 0° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012184 | (S) NI | 17° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012177 | (S) NI | 0° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012185 | (S) NI | 17° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012225 | (XL) NI | 0° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012226 | (XL) NI | 0° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012227 | (XL) NI | 0° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012228 | (XL) NI | 0° |  | 4.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012171 | (XS) NI | 0° |  | 1.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012172 | (XS) NI | 0° |  | 2.5 | 100415 | Type 25 | 08086425 | Type 025R
MultiBase Abutment EV | 68012173 | (XS) NI | 0° |  | 3.5 | 100415 | Type 25 | 08086425 | Type 025R
Uni Abutment EV | 25555 | 3.0 / (XS) | 0° | 3 | 2 | 08086144 | Type 112
Uni Abutment EV | 25556 | 3.0 / (XS) | 0° | 3 | 3 | 08086144 | Type 112
Uni Abutment EV | 25557 | 3.0 / (XS) | 0° | 3 | 5 | 08086144 | Type 112
Uni Abutment EV | 25558 | 3.6 / (S) | 0° | 3.6 | 1 | 08086144 | Type 112
Uni Abutment EV | 25559 | 3.6 / (S) | 0° | 3.6 | 2 | 08086144 | Type 112
Uni Abutment EV | 25560 | 3.6 / (S) | 0° | 3.6 | 3 | 08086144 | Type 112
Uni Abutment EV | 25561 | 3.6 / (S) | 0° | 3.6 | 5 | 08086144 | Type 112
Uni Abutment EV | 25562 | 4.2 / (M) | 0° | 4.2 | 1 | 08086144 | Type 112
Uni Abutment EV | 25563 | 4.2 / (M) | 0° | 4.2 | 2 | 08086144 | Type 112
Uni Abutment EV | 25564 | 4.2 / (M) | 0° | 4.2 | 3 | 08086144 | Type 112
Uni Abutment EV | 25565 | 4.2 / (M) | 0° | 4.2 | 5 | 08086144 | Type 112
Uni Abutment EV | 25566 | 4.8 / (L) | 0° | 4.8 | 1 | 08086144 | Type 112
Uni Abutment EV | 25567 | 4.8 / (L) | 0° | 4.8 | 2 | 08086144 | Type 112
Uni Abutment EV | 25568 | 4.8 / (L) | 0° | 4.8 | 3 | 08086144 | Type 112
Uni Abutment EV | 25569 | 4.8 / (L) | 0° | 4.8 | 5 | 08086144 | Type 112
Uni Abutment EV | 25570 | 5.4/ (XL) | 0° | 5.4 | 1 | 08086144 | Type 112
Uni Abutment EV | 25571 | 5.4/ (XL) | 0° | 5.4 | 2 | 08086144 | Type 112
Uni Abutment EV | 25572 | 5.4/ (XL) | 0° | 5.4 | 3 | 08086144 | Type 112
Uni Abutment EV | 25573 | 5.4/ (XL) | 0° | 5.4 | 5 | 08086144 | Type 112